Aria-Ti

Kerr-lens Mode-locked Ti:Sapphire Femtosecond

F E A T U RES

  Integrated CW Green la- ser

  Bandwidth up to 60 nm

  Capable of compress pulse down to <20 fs

  Hand-free operation, fully automated

  Ideal for ultrafast amplifier seeding

AP PL IC AT IO NS

  Ultrafast laser amplifier seeding

  Harmonic generation

  THz generation

  OTC (Optical Coherence

Tomography)

The Aria-Ti series are broad-band, kerr-lens mode locked femtosecond oscillators with an integrated pump laser. It is capable of producing up to a 60nm broadband spectrum and high- power mode-locked output. The Aria-Ti series feature compact size, user-friendly operation and long-term reliability.

The Aria series are mode-locked oscillators, suitable for Ti:Sapphire amplifier seeding for am- plifiers such as UpTek Solutions Corp’s Phidia ultrafast amplifiers.

Aria-Ti-500	Aria-Ti-800	Aria-Ti-HP

s

Aria-F

Mode-locked All PM-fiber Femtosecond Oscillator

F E A T U RES

  All PM-fiber oscillator

  Bandwidth up to 10 nm

  Capable of compress pulse down to 100 fs

  Hand-free operation, fully automated

  ±10ºC operating environment

  Ideal for ultrafast amplifier seeding

  Super reliability for indus-

trial application

Aria-F series are SHG mode-locked Er-doped fiber laser oscillators. They are completely formed by environmental-insensitive PM-fiber components and feature hands-free operation in an industrial environment with wide operation temperature range. It is the first choice for ultra- fast laser amplifier seeding in industrial environments, such as UpTek Sulutions Corp’s Phidia and Phidia-C series.

Aria-F-10	Aria-F-100

AP PL IC AT IO NS

  Ultrafast laser amplifier seeding

  Harmonic generation

  THz generation

# Text boxes

| Output Power | >500mW >800mW >2500mW |
| --- | --- |
| Repetition Rate | 80MHz ± 4MHz 80MHz ± 4MHz 85MHz ± 5MHz |
| Center Wavelength | 800nm ±10nm 800nm ±10nm 800nm ±10nm |
| Typical Spectrum Width | >40nm >40nm ~10nm |
| Tunable Range | 770nm-830nm 770nm-830nm 770nm-830nm |
| Spatial Mode | TEM00 M2<1.1 TEM00 M2<1.1 TEM00 M2<1.1 |
| Beam Size (1/e2) | ~ 1.5 mm ~ 1.5 mm ~ 1.5 mm |
| Power Stability | < ±1 % < ±1 % < ±1 % |
| Noise | <0.05% RMS <0.05% RMS < 0.5% RMS |
| Beam Divergence, Full Angle | <2 mrad <2 mrad <1 mrad |
| Polarization | Linear, Horizontal |
| Dimension (Laser head) | 20.5”L x 14.2”W x 6”H |

| Output Power | >10mW >100mW |
| --- | --- |
| Repetition Rate | 40MHz ±5MHz 40MHz ±10MHz |
| Center Wavelength | 790nm ±10nm 790nm ±10nm |
| Typical Spectrum Width | > 10nm > 10nm |
| Tunable Range | N/A N/A |
| Spatial Mode | 2 2 TEM00 M <1.1 TEM00 M <1.1 |
| Beam Size (1/e2) | ~ 1 mm ~ 1 mm |
| Power Stability | < ±1.5 % < ±1.0 % |
| Noise | < 2% RMS < 1% RMS |
| Beam Divergence, Full Angle | <1 mrad <1 mrad |
| Polarization | Linear, Horizontal Linear, Horizontal |
| Dimension (Laser head) | 7”L x 6”W x 3”H 9”L x 6”W x 3”H |