**Product Name :Micrometer Drived**

**Description :**

● Position lockable  
● Angular position is indicated on a 360° scale.  
● Continuous 360° manual rotation  
● Fine adjustment driven by micrometer

